## Acknowledgments
BBP Operational Waste Guidelines: procurement, management and reporting
Part D - Roles and Responsibilities, KPIs and pricing
Operational waste is an area of opportunity for better management, measurement and outcomes. The Better Buildings Partnership (BBP or Partnership) recognises the importance of waste as a material with importance and value to tenants and occupants due to its environmental and economic impacts. The Partnership has created these guidelines with the intention of improving the outcomes of operational waste in buildings. These guidelines were developed with the expertise of the Better Buildings Partnership waste technical working group members, including Robyn Pearson, Oliver Batchelour, Mark McKenzie, Steve Ford and Kathryn Cassidy. The Partnership would like to thank them for their expertise and assistance in the development of these guidelines.
This tool is one part of a larger body of work on best practice waste management by the Better Buildings Partnership. Refer to the BBP's Operational Waste Guidelines for further information and other tools on procurement, management and reporting. betterbuildingspartnership.com.au/operational-waste >
Prepared by:Prepared by: Waste Technical Working Group Better Buildings Partnership © Better Buildings Partnership 2018. The material in this publication is made available by the Better Buildings Partnership as an information guide only and is not a substitute for legal advice. The Better Buildings Partnership disclaims all liability (including, without limitation, liability in negligence) for any expenses, losses, damages or costs the reader or any relevant third party may incur as a result of reliance upon the information contained in this publication. The Better Buildings Partnership makes no warranty or representation regarding the accuracy or suitability for any purpose, of the information contained in this publication. The reader should verify all relevant statements and information contained in this publication. For more information visit: http://betterbuildingspartnership.com.au

## 10 steps to good practice
BBP Operational Waste Guidelines: procurement, management and reporting
10 steps to good practice
1 | Specify and communicate your corporate outcomes. | Clear outcomes enable everyone involved (building management, contractors, cleaners, tenants, etc) to understand how they can contribute to the waste management systems in place.
2 | Develop a Waste Management Plan (WMP) in collaboration with your contractors and stakeholders. | This is the core document that fosters a successful collaboration to ensure you reach your targets. Include sub-contractors where joint waste/cleaning contracts are held.
3 | Incorporate best practice ratings such as NABERS Waste and standards, such as GECA Waste Management standard into your operations. | Aim for NABERS ratings and GECA certified waste contractors.
4 | Agree the fees per waste stream and the nominated facilities. | Knowing your fees by stream will create shared incentives for resource recovery.
5 | Know where your waste is going. | Document acceptance criteria for each facility. Your compliance helps increase their recovery rate.
6 | Ensure your systems from tenancy to dock support correct segregation and the easy identification of contamination. | Using translucent bags enables better visibility for contamination when collecting on the floor or in the loading dock, decreasing rejection rates at the facility.
7 | Preference onsite weighing over lifts/volume. | Where actual site weights or site-specific density conversions are not known, use the NABERS Waste conversion figures.
8 | Audit your current practice. | Require periodic reporting on the building’s performance by floor/area on waste stream weights. Review recycling rates/diversion and contamination rates – both at loading dock and at facility.
9 | Rate your data quality. | Using the BBP Data Integrity Matrix (which favours one or more independent source).
10 | Meet regularly to address challenges and make system improvements. | Consider education, training and signage for contractors, cleaners and occupants.

## Executive Summary
BBP Operational Waste Guidelines: procurement, management and reporting
Executive summary
The Better Building Partnership (BBP) is committed to continuous improvement in the management of waste generated by commercial buildings’ operations. Drawing on its extensive expertise, it has developed these Guidelines to assist building owners and property managers to work more effectively and consistently with their waste and cleaning contractors. The Guidelines include a number of tools to create, procure and implement effective waste management programs. Using these tools will promote comparable data, clearly articulated accountabilities and transparent reporting processes. The BBP hopes that by working together as an industry we can drive better standards, improve industry benchmarking and increase positive outcomes for waste reduction and resource recovery in the sector. To this end the BBP has worked with NABERS and GECA to develop two supporting programs: NABERS Waste, and n Good Environmental Choice Australia, (GECA) Waste Collection Services Standard. We encourage leading organisations to embrace these two initiatives as part of their waste improvement program. |  |  | Robust waste management programs require clear contracts and articulation of roles. Model contract clauses have been developed to assist with this process (Part A). A range of related tools that collectively form a waste management system are also described (Appendices B–E). The appendices are available in Excel format so they can be used as a set or as enhancements to supplement your current waste management systems. These Guidelines do not assume that all buildings will operate the same waste streams, have the same level of reporting or target the same recovery rates. Instead, they are a framework. Each organisation will choose its priorities, level of service and reporting based on its market position, customer/ tenant requirements. The Guidelines simply seek to provide a common set of measures, a transparent method of comparing performance and a mechanism to iteratively improve performance over time.
This document contains 6 parts:
Introduction and context
Part A Model Contract Clauses | Part B Material streams and conversions | Part C Template waste management plan | Part D Template roles, responsibilities, KPIs | Part E Waste data integrity rating protocol

## How to use this guide
BBP Operational Waste Guidelines: procurement, management and reporting
How to use this guide

## D Introduction
BBP Waste Guidelines: procurement, management and reporting
Part D - Roles and Responsibilities, KPIs and pricing
Guidance Notes
The purpose of this tool is to set out the roles and responsibilities relating to waste management. These roles and responsibilities should be referenced in contracts with property management, contractors, and sub-contractors to ensure best outcomes.
It is crucial to include Key Performance Indicators (KPIs) to establish quantifiable goals for the Contractor/Cleaner to meet during the Term. Performance will be measured against the KPIs to understand the quality of performance. It is recommended that the Owner conducts KPI performance reviews to assess the performance of the services and obligations under the agreement. Additionally, it is important for all parties to have certainties in costs, therfore the expectation regarding the level of service should be nominated at the earliest possible point in the tender process. The Contractor should include cost options based upon differing levels of service.
When using this tool, user entry cells are white or gray.
This tool is one part of a larger body of work on best practice waste management by the Better Buildings Partnership. Refer to the BBP's Operational Waste Guidelines for further information and other tools on procurement, management and reporting. betterbuildingspartnership.com.au/operational-waste >
Prepared by: Waste Technical Working Group Better Buildings Partnership © Better Buildings Partnership 2014 The material in this publication is made available by the Better Buildings Partnership as an information guide only and is not a substitute for legal advice. The Better Buildings Partnership disclaims all liability (including, without limitation, liability in negligence) for any expenses, losses, damages or costs the reader or any relevant third party may incur as a result of reliance upon the information contained in this publication. The Better Buildings Partnership makes no warranty or representation regarding the accuracy or suitability for any purpose, of the information contained in this publication. The reader should verify all relevant statements and information contained in this publication. For more information, visit http://betterbuildingspartnership.com.au

## D1 Roles and Responsibilities
BBP Waste Guidelines: procurement, management and reporting
D1 Roles and Responsibilities
Guidance Notes The following table sets out the roles and responsibilities relating to waste management. These roles and responsibilities should be referenced in contracts with property management, contractors and sub-contractors to ensure best outcomes. There is not always a responsible party for both the client and contractor; insert “n/a” if this is the case (eg. complete waste pricing template may be “n/a” for the client responsible party, as this sits almost exclusively with the contractor). All relevant responsible parties noted below will be reviewed annually with the Waste Management Plan (WMP). The frequency of responsibilities is as noted or as specified in Part C14. Site specific Key Performance Indicators (KPIs) identified in Part D should be included in this document.
Area | Activity | Responsibility | Reference part (per guidelines) | Client Responsible Party | Contractor Responsible Party | Associated KPI Reference
Contract management | Cleaning contract | Issue and execute contracts | A
|  | Review/renew contracts | A
|  | Review KPIs | D
| Waste contract | Issue and execute contracts | A
|  | Review/renew contracts | A
|  | Review KPIs | D
|  | Complete waste pricing template | D | n/a
|  | Review and approve waste pricing template | D
Outcomes management | Operational WMP | Develop operational WMP | C
|  | Review/approve operational WMP | C
|  | Identify and agree waste streams to be collected | C
|  | Ensure nominated waste facilities are suitably licensed | C.4
|  | Complete and submit Monthly Waste Management Report | C.4
|  | Update the operational WMP annually | C
| Data integrity/ compliance | Ensure compliance report is completed and submitted | C
|  | Complete waste stream acceptance templates for facilities | C.6
|  | Complete outcomes-based reporting templates for facilities | C
|  | Manage site audits for density and contamination weightings | A B.2 C.8
|  | Manage independent audits for waste management | A C.10
|  | Complete criteria for data integrity reporting target | E
|  | Review waste reports and investigate variances | C
| Education/ training | Develop education materials for on-site management of waste | C.10
|  | Complete and submit training log | C.10
|  | Provide communication and rapid feedback mechanisms for tenant education | C.10
|  | Manage and maintain appropriate signage for waste streams | C.5
|  | Coordinate annual review of education, training, and signage | C.10 C.13
On Site Management | Waste systems | Ensure contractor manages waste streams in line with operational WMP | C
|  | Ensure suitable waste systems in place for tenants' waste needs | C.5 C.6
|  | Esnure suitable waste systems in place for site/ building needs | C.5
|  | Coordinate monthly waste review meeting | C.4
|  | Attend monthly waste review meeting | C.4 | John Doe - Building Manager Sally Field - Tenant Operations Manager | Barry Smith - Cleaning Manager Sarah Loo - Waste Contract Manager | 14
| Operations | Submit waste management reports daily | C.4
|  | Ensure waste areas kept clean and safe and waste streams managed as per operational WMP | C
|  | Transfer waste from tenancies to waste collection area | C.2 C.3 C.5
|  | Complete dock bin tally sheet. | C.5
|  | Weigh/count bins before collection occurs | B.2 C.4
|  | Collect and transport each waste stream to the facility identified in the operational WMP | C.5 C.6
|  | Provide invoices or documentary evidence of facility receipt and acceptance | C.12 D.2
|  | Record actual weights/bins collected by stream | C.4
| Contamination | Ensure tenants' waste and recycling is correctly segregated within tenancy and placed in the dedicated bins provided. | C.2 C.3 C.5 | Building Manager | Cleaning Manager | 11
|  | Provide rapid feedback of non-compliance to tenants and building management | E.5 | Building Manager / Tenant Operations Manager | Cleaner | 11
|  | Report any non-compliance to on-site supervisor via contamination report | E.5
|  | Ensure a contamination report is completed for any load rejected from a facility and diverted to landfill | C.8
| Safety | Ensure any incident or injury is reported and photographed. | C.9

## D2 Key Performance Indicators
BBP Waste Guidelines: procurement, management and reporting
D2 Key Performance Indicators (KPIs)
Guidance Notes The Contractor/Cleaner must, during the Term, meet the KPIs set out in the following table below in respect of all Sites at all times. Ahead of review meetings, the Contractor/Cleaner may be asked to self-rate themselves according to these KPIs to inform the review meeting. When setting the KPIs, the text in purple requires a choice between options or an inserted target to meet. These have been pre-populated with suggested targets.
KPI # | KPI Type | KPI | Consequence of non-compliance
1 | Invoicing | The Contractor/Cleaner must submit invoices to the Manager within 30 days of the end of the period in which the Services were performed and to which the invoice relates.
2 | Site requirements and performance criteria | In respect of each Site, the Contractor must meet all site requirements and performance criteria which are set out in the Scope of Works, any Work Order, or any other document under which the Manager orders Services to be performed by
3 | Reporting | the Contractor under this Agreement. This includes all pick-ups
4 | Data integrity reporting standard | that the Contractor is required to perform at each Site.
5 | Account management | The Contractor/Cleaner must provide reports under this Agreement within 30 days of the end of the reporting period to which the report relates.
6 | Target: diversion rate | Data must be provided in a format and consistent with the
7 | Target: total waste | 5% reduction in total waste – all streams
8 | Target: waste recovery rate | 40% of waste recovered for Grade A-B use from any facility/ total waste generated
9 | Target: mixed recycling | 10% increase in recycling measured at loading dock on previous period
10 | Target: contamination (facility) | <5 incidents of contamination resulting in load rejection at facility per month
11 | Target: contamination (on-site) | <100 incidents resulting in load rejection at loading dock per month
12 | Target: Other | TBC
13 | Outcomes management: service level | Complies with (90%) of waste management systems and processes – (signage, audits, communications etc)
14 | Outcomes management: performance improvement | (85%) attendance at waste management meetings
15 | Outcomes management: processes for improvement | [<5] complaints from tenants about waste management systems and recycling [targets/rates]
16 | Outcomes management: processes for improvement | The [Contractor/Cleaner] provides response to Manager requests within [48) hours
17 | Outcomes management: processes for improvement | Contribute [>4] recommendations for waste management improvement [annually/quarterly]
18 | Third party Endorsement | Progress towards/(achieves) GECA Certification in XX sites.
19
20

## D4 Waste Pricing
BBP Waste Guidelines: procurement, management and reporting
D4 Waste Pricing
Guidance Notes It is important for all parties to have certainty in costs. To enable this, the expectation regarding the level of service should be nominated at the earliest possible point in the tender process. Additionally, the Contractor should include cost options based upon differing levels of services. The fees and other charges are as indicated in the tables below. These rates are fixed, but can be subject to adjustment as part of periodic contract reviews or legislative change. All fees associated with the provision of the services as outlined in this document are to be detailed in the tables below.
Table D.4.1 Rates
Waste Stream | Unit | Collection Frequency | Rental $/month | Total no. of clearances/month | Clearance fees $/unit/mo | Disposal/rebate $/month | Waste levy $/tonne | Other $/tonne
Choose | tonne
Choose | bin
Choose
Choose
Guidance Notes The Contractor is to detail in the following table the percentage of the fee that will increase in Years 2 and 3 as a result of the landfill levy increase, and the percentage of the levy increase that will be passed on. Fees quoted below are fully inclusive of all fees and tarrifs and exclude GST.
Table D.4.2 Changes in fees over time
Waste Stream | Unit | Disposal rate in Year 1 (see above) | % of fee subject to landfill increases (Year 2 and Year 3) | % of landfill levy to be passed through
Choose | 1 tonne | 200 | 30% | 100%
Choose | bin
Choose
Choose
Guidance Notes The contractor is to detail in the table below any additional fees associated with their service provision. Items detailed in the table must be addressed. Where the item is not applicable to the Contractor offer, "NA" should be shown in the Fee column. Items in the table may be optional, such as education and waste profiling. The fees will include all ancillary expenses associated with the Service proposed, for example twine required for use in baling systems. The fees should also include maintenance for all equipment specified.
Table D.4.3 Consumables and Other Fees
Description of Item/Service | Fee | Basis of Fee | Comment
Baler twine
Education/training |  |  | Optional
Compliance audits
Contamination weigh off (loading dock) |  |  | Optional
Visual contamination inspection (on-floor)
On-floor rapid feedback mechanism
Clear coloured bags

## working sheet
BBP Waste Guidelines: procurement, management and reporting
D Working Sheet
Guidance Notes This worksheet controls the lists throughout the rest of the document. - You can add new options to the lists by inputting it in the relevant columns below. - You can reconfigure and change the way this tool operates by using the data validation panel in Microsoft Excel.
B1 Material Streams Lists
Units | Data Rigour | Reporting Frequency
kg | AW | monthly
m3 | SD | quarterly
L | ID | annually
n/a | n/a | as needed
n/a